365         ALUTEC ROOF OUTLETS

	Manufacturer: Marley Alutec, Unit 1 (G-H), Hudson Road,
	Elms Farm Industrial Estate, Bedford MK41 0LZ
	Tel: 01234 359438, Fax: 01234 357199.
	Email: enquiries@marleyalutec.co.uk
	Reference: Alutec aluminium roof outlet
	Type: Shallow balcony outlet
	Product code: DR365

Connection size: 75mm nominal, 82mm OD

Grate Type: Flat grate

Flow Performance: As stated in Alutec literature.

Type / grade: Marine grade Aluminium alloy to BSEN1559:1997, 
	BSEN 1676:1997 and BSEN 1706:1998

Accessories: Extension ring
	Functional life expectancy: 50 years