365         ALUTEC ROOF OUTLETS

	Manufacturer: Marley Alutec, Unit 1 (G-H), Hudson Road,
	Elms Farm Industrial Estate, Bedford MK41 0LZ
	Tel: 01234 359438, Fax: 01234 357199.
	Email: enquiries@marleyalutec.co.uk
	Reference: Alutec Elite aluminium parapet/gully outlet 
	Type: Threaded connector – 500mm length
	Product code: AP110

Connection size: 110mm OD

Grate Type: Flat grate

Waterproofing type: Suitable for use with all types (Liquid, single ply, hotmelt, GRP, bituminous etc)

Flow Performance: consult Alutec product literature

Type / grade: Marine grade Aluminium alloy to BSEN1559:1997, 
	BSEN 1676:1997 and BSEN 1706:1998

Functional life expectancy: 50 years