311       TRADITIONAL ALUMINIUM GUTTERS

	
	Manufacturer: Marley Alutec, Unit 1 (G-H), Hudson Road,
	Elms Farm Industrial Estate, Bedford MK41 0LZ
	Tel: 01234 359438, Fax: 01234 357199.
	Email: enquiries@marleyalutec.co.uk
	Gutters and fittings to: BS 8530

Reference: Traditional Victorian Ogee aluminium rainwater system
	Profile: Victorian Ogee
	Size: 100mm 
	Outlet Size: 63mmØ, 76mmØ or 72x72mm TBC
	Type / grade: Marine grade Aluminium alloy to BSEN1559:1997, 
	BSEN 1676:1997 and BSEN 1706:1998
Finish:  Polyester powder coated to BS EN 12206-1:2004 
	Colour: TBC
	Functional life expectancy: 50 years

Jointing: Gutter lengths or fittings are overlapped at the joint with a spigot and socket. Slots are provided for fixing using Alutec M6 aluminium bolts with nuts and washers. Seal evenly across the joints with Alutec sealant
Fixing: Fascia bracket fixed at 915mm centres and at each fitting using Alutec 32mm x No. 10 round head austenitic stainless steel screws