365         ALUTEC ROOF OUTLETS

	Manufacturer: Marley Alutec, Unit 1 (G-H), Hudson Road,
	Elms Farm Industrial Estate, Bedford MK41 0LZ
	Tel: 01234 359438, Fax: 01234 357199.
	Email: enquiries@marleyalutec.co.uk
	Reference: Alutec aluminium roof outlet
	Type: 63mm Dia Overflow Outlet (parapet)
Product code: PC063

Grate Type: Flat grate

Type / grade: Marine grade Aluminium alloy

Functional life expectancy: 50 years